**RFA 9.5mT results tabulation**

Vds = 60V

Vgs(dc) = 5V

Ids (to be given from supply) = 2.42A

Igs (to be given from supply) = 34mA

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Voltage (p-p)** | **Current (p-p)** | **Power** |
| **Input** | 340mV | 20mA | 0.4mW |
| **Output** | 122.3V | 2.45A | 38.168W |